## Room List
Room Index | Room Name
0 | Whole House
1 | Family Room
2 | Office
3 | Kitchen
4 | Master Bedroom
5 | Master Bath
6 | Yard
7 | Rec Room
8 | Garage
9 | Gym
10 | Living Room
11 | Dining Room
12 | Theater
13 | West Bedroom
14 | East Bedroom
15 | Hallway
16 | Stairs
17 | Laundry Room
18 | Entry
19 | Hobby Room
20 | Deck
21 | Guest Bedroom
22 | Powder Room
23 | Utility Bath
24 | Lower Bath

## Page List
Page Index | Page Name
1 | Initial Load Page (Global > Home)
2 | Source Menu - List (Global > Home)
3 | Room Menu - List (Global > Home)
4 | Power Menu (Global > Home)
5 | Template (Global > Home)
6 | Weather (Global > Weather)
7 | Security - Alarm (Global > Alarm )
8 | Sonos 1 - Room (Global > Sonos #1)
9 | Sonos 1 - House (Global > Sonos #1)
10 | Sonos 2 - Room (Global > Sonos #2)
11 | Sonos 2 - House (Global > Sonos #2)
12 | DCT 1 - Room (Global > Rogers #1)
13 | DCT 1 - House (Global > Rogers #1)
14 | DCT 2- Room (Global > Rogers #2)
15 | DCT 2 - House (Global > Rogers #2)
16 | DCT 3 - Room (Global > Rogers 3)
17 | DCT 3 - House (Global > Rogers 3)
18 | DirecTV 1 - Room (Global > DirecTV #1)
19 | DirecTV 1 - House (Global > DirecTV #1)
20 | DirecTV 2 - Room (Global > DirecTV #2)
21 | DirecTV 2 - House (Global > DirecTV #2)
22 | Apple TV 1 - Room (Global > Apple TV #1 (Gen 4))
23 | Apple TV 1 - House (Global > Apple TV #1 (Gen 4))
24 | Apple TV 2 - Room (Global > Apple TV #2 (Gen 4))
25 | Apple TV 2 - House (Global > Apple TV #2 (Gen 4))
26 | Lighting - Room Vertical (Global > Clipsal C-Bus)
27 | Lighting - House Vertical (Global > Clipsal C-Bus)
28 | Fans - Room (Global > HRV Fans (RTI RCM12))
29 | Fans - House (Global > HRV Fans (RTI RCM12))
30 | Cameras - Intercom (Global > Cameras (in RTI))
31 | Cameras - Gate (Global > Cameras (in RTI))
32 | Cameras - Street South (Global > Cameras (in RTI))
33 | Cameras - Driveway (Global > Cameras (in RTI))
34 | Cameras - Car Park West (Global > Cameras (in RTI))
35 | Cameras - Car Park East (Global > Cameras (in RTI))
36 | Cameras - Front Door (Global > Cameras (in RTI)
37 | Cameras - Garage (Global > Cameras (in RTI))
38 | Cameras - Dog Run (Global > Cameras (in RTI)
39 | Cameras - Laundry Door (Global > Cameras (in RTI))
40 | Cameras - Pool West (Global > Cameras (in RTI))
41 | Cameras - Lower Courtyard (Global > Cameras (in RT
42 | Cameras - Gym Door (Global > Cameras (in RTI))
43 | Cameras - Back Yard West (Global > Cameras (in RTI)
44 | Cameras - Kitchen Door (Global > Cameras (in RTI))
45 | Cameras - Patio Door (Global > Cameras (in RTI))
46 | Cameras - Patio Firepit (Global > Cameras (in RTI))
47 | Cameras - Backyard East (Global > Cameras (in RTI))
48 | Cameras - Pool East (Global > Cameras (in RTI)
49 | Cameras - Pool Firepit (Global > Cameras (in RTI))
50 | Cameras - Shed Door (Global > Cameras (in RTI))
51 | Cameras - Sports Court (Global > Cameras (in RTI))
52 | Cameras - Trampoline (Global > Cameras (in RTI))
53 | Cameras - Maintenance Path (Global > Cameras (in RTI))
54 | Access - Intercom (Global > Access)
55 | Access - Street South (Global > Access)
56 | Access - Driveway (Global > Access)
57 | Please Wait (Global > Please Wait)
58 | Shades - Room (Global > Relay Based Shades)
59 | Shades - House (Global > Relay Based Shades)
60 | Fireplaces - Room (Global > Fireplaces)
61 | Fireplaces - House (Global > Fireplaces)
62 | Heaters - Room (Global > Heaters)
63 | Heaters - House (Global > Heaters)
64 | Media (Global > Media)
65 | Climate - Room (Global > Climate)
66 | Climate - House (Global > Climate)
67 | Pool - Controls (IP) (Global > Pool)
68 | Pool - Settings (IP) (Global > Pool)
69 | Pool - Controls (RS232) (Global > Pool)
70 | Pool - Settings (RS232) (Global > Pool)
71 | Power Off - Room (Global > Power Off)
72 | Power Off - Whole House AV (Global > Power Off)
73 | Power Off - Whole House Lights (Global > Power Off)
74 | Power Off - Whole House Heaters/Fireplaces (Global > Power Off)
75 | Presets - New (Global > Presets)
76 | Presets - Original (Global > Presets)
77 | Whole House Lighting - Main Floor (Global > All Lights)
78 | Whole House Lighting - Upper Floor (Global > Alll Lights)
79 | Whole House Lighting - Lower Floor (Global > All Lights)
80 | Whole House Lighting - Yard (Global > All Lights)
81 | All Audio - Main Floor (Global > All Audio)
82 | All Audio - Upper Floor (Global > All Audio)
83 | All Audio - Lower Floor (Global > All Audio)
84 | All Audio - Yard (Global > All Audio)
85 | Cameras (on TVs) (Global > Cameras (on TV))
86 | All Shades (Global > All Shades)
87 | Pool - Controls (RS232) (UNUSED) (Global > Jandy AquaLink RS)
88 | Pool - Settings (RS232) (UNUSED) (Global > Jandy AquaLink RS)
89 | Wattbox - Main Rack (Global > WattBox (Main Rack))
90 | Wattbox - Security Rack (Global > WattBox (Main Rack)
91 | Whole House Climate (Global > All Climate)
92 | All Fans (Global > All Fans)
93 | Room Floorplan (Family Room > Home)
94 | Family Room Samsung TV (Family Room > Samsung TV)
95 | Room Floorplan (Office > Home)
96 | Office LG TV (Office > LG TV)
97 | Room Floorplan (kitchen > Home)
98 | Kitchen Samsung TV (kitchen > Samsung TV)
99 | Room Floorplan (Master Bedroom > Home)
100 | Master Bedroom Samsung TV (Master Bedroom > Samsung TV)
101 | Room Floorplan (Master Bath > Home)
102 | Back Yard Floorplan (Yard > Home)
103 | Front Yard Floorplan (Yard > Home)
104 | Room Floorplan (Rec Room > Home)
105 | Rec Room Samsung TV (Rec Room > Samsung TV)
106 | Rec Room Denon AVR (Rec Room > Denon AVR)
107 | Game 1 - Video Game in Use (Rec Room > Game 1)
108 | Game 2 - Video Game in Use (Rec Room > Game 2)
109 | Game 3 - Video Game in Use (Rec Room > Game 3)
110 | Room Floorplan (Garage > Home)
111 | Room Floorplan (Gym > Home)
112 | Gym Samsung TV - Right (Gym > Samsung TV - Right)
113 | Gym Samsung TV - Left (Gym > Samsung TV - Left)
114 | Room Floorplan (Living Room > Home)
115 | Room Floorplan (Dining Room > Home)
116 | Room Floorplan (Theater > Home)
117 | Theater Epson (Theater > JVC - Projector - DLA-RS/HD/X Series /
118 | Denon AVR (Theater > Denon AVR)
119 | Denon BluRay (Theater > Theater LG BluRay)
120 | Apple TV (Theater > Apple TV Gen 4)
121 | Theater PC Input (Theater > PC INPUT)
122 | Room Floorplan (West Bedroom > Home)
123 | Room Floorplan (East Bedroom > Home)
124 | Room Floorplan (Hallway > Home)
125 | Room Floorplan (Stairs > Home)
126 | Room Floorplan (Laundry Room > Home)
127 | Room Floorplan (Entry > Home)
128 | Room Floorplan (Hobby Room > Home)
129 | Room Floorplan (Deck > Home)
130 | Room Floorplan (Guest Bedroom > Home)
131 | Room Floorplan (Powder Room > Home)
132 | Room Floorplan (Utility Bath > Home)
133 | Room Floorplan (Lower Bath > Home)
134 | House Floor Plan - Main (Whole House > Home)
135 | House Floor Plan - Lower (Whole House > Home)
136 | House Floor Plan - Yard (Whole House > Home)
137 | House Floor Plan - Upper (Whole House > Home)

## Source List
Source Index | Source Name
0 | Global Home
1 | Weather
2 | Room Home
3 | Room Home
4 | Room Home
5 | Room Home
6 | Room Home
7 | Room Home
8 | Room Home
9 | Room Home
10 | Room Home
11 | Room Home
12 | Room Home
13 | Room Home
14 | Room Home
15 | Room Home
16 | Room Home
17 | Room Home
18 | Room Home
19 | Room Home
20 | Alarm
21 | Vaux Lattis Matrix
22 | Patio Firepit Audio (Zone 2)
23 | Pool Firepit Audio (Zone 3)
24 | Pool Audio Pre Out (Zone 4)
25 | Sports Court Audio Pre Out (Zone 5)
26 | Sonos #1
27 | Sonos #2
28 | Rogers 1
29 | Rogers 2
30 | Rogers 3
31 | DirecTV #1
32 | DirecTV #2
33 | Video (Output 1)
34 | Video (Output 2)
35 | Video (Output 3)
36 | Video (Output 4
37 | Video Right TV (Output 5)
38 | Video (Output 6)
39 | Video (Output 7)
40 | Video Left TV (Output 8)
41 | Television
42 | LG TV
43 | Samsung TV
44 | Samsung TV
45 | Samsung TV
46 | Samsung - Right
47 | JVC Projector
48 | Denon AVR
49 | Denon AVR
50 | Local BluRay
51 | Local Apple TV
52 | Apple TV #1
53 | Apple TV #2
54 | Local PC Input
55 | Game #3
56 | Lutron Upper Floor
57 | Lights
58 | Room Home
59 | Fans
60 | Room Home
61 | Cameras
62 | Access
63 | Please Wait
64 | Shades
65 | Game #1
66 | Game #2
67 | Fireplaces
68 | Room Home
69 | Room Home
70 | Room Home
71 | Room Home
72 | Heaters
73 | Media Selection
74 | Floorplan
75 | XP Diagnostics
76 | Relay Based Shades DR
77 | Pool
78 | Power Off
79 | Presets
80 | Relay Based Shades with Upper Landing 2
81 | Logic Helper - Back Yard Patio Firepit
82 | Logic Helper - Back Yard Pool Firepit
83 | Logic Helper - Front Yard
84 | Front Yard Audio (Zone 6)
85 | LH - Back Yard Pool
86 | LH - Back Yard Sports Court
87 | DCT #1 Extra Commands
88 | DCT #2 Extra Commands
89 | DCT #3 Extra Commands
90 | Lutron Lower Floor
91 | Layer Switch
92 | Denon AVR (RS232)
93 | Denon AVR (RS232)
94 | LH - Rec Room Audio
95 | LH - Theater Audio
96 | Samsung - Left
97 | IH - Theater CBUS
98 | Samsung - Television - DLP Discretes 2005
99 | Integer Helper - Theater CBUS Setpoint
100 | Integer Helper - Laundry CBUS Temp
101 | Integer Helper - Laundry CBUS Setpoint
102 | Integer Helper - Garage CBUS Temp
103 | Integer Helper - Garage CBUS Setpoint
104 | Integer Helper - Rec Room CBUS Temp
105 | Integer Helper - Rec Room CBUS Setpoint
106 | Integer Helper - Hallway CBUS Temp
107 | Integer Helper - Hallway CBUS Setpoint
108 | Integer Helper - Guest Room CBUS Temp
109 | Integer Helper - Guest Room CBUS Setpoint
110 | Integer Helper -Master Bed CBUS Temp
111 | Integer Helper - Master Bed CBUS Setpoint
112 | Climate
113 | Zigbee Test
114 | Debug Counter - Rec Room Test
115 | Debug Counter - t4 Test
116 | Vantage Shades
117 | LH - Office Shades ALL
118 | All Lights
119 | All Audio
120 | Lutron Exterior
121 | Cameras (on TV)
122 | All Shades
123 | Jandy AquaLink RS
124 | WattBox (Security Rack)
125 | WattBox (Main Rack)
126 | All Climate
127 | All Fans
128 | All Fireplaces
129 | All Heaters

## Audio Zones
Audio Zone Input Index | Audio Zone Input Name | Audio Zone Output Index | Audio Zone Output Name
1 | Shaw 1 | 1 | Master Bed
2 | Shaw 2 | 2 | Master Ensuite
3 | Shaw 3 | 3 | Kitchen
4 |  | 4
5 | Apple TV 1 | 5 | Family Room
6 | Apple TV 2 | 6 | Dining Room
7 | Direct TV 1 | 7 | Living Room
8 | Direct TV 2 | 8 | Office
9 | Sonos Port 1 | 9 | Garage
10 | Sonos Port 2 | 10
11 |  | 11 | Deck
12 |  | 12 | Yard
13 |  | 13 | Gym
14 |  | 14
15 |  | 15 | Rec Room
16 |  | 16 | Theater

## Ports List
Module Name | Module Type | Port Index | Port Name
XP-8v | Internal MPIO | 1 | MPIO 1
XP-8v | Internal MPIO | 2 | MPIO 2
XP-8v | Internal MPIO | 3 | MPIO 3
XP-8v | Internal MPIO | 4 | MPIO 4
XP-8v | Internal MPIO | 5 | MPIO 5
XP-8v | Internal MPIO | 6 | MPIO 6
XP-8v | Internal MPIO | 7 | MPIO 7
XP-8v | Internal MPIO | 8 | MPIO 8
XP-8v | Internal Relay | 1 | Relay 1
XP-8v | Internal Relay | 2 | Relay 2
XP-8v | Internal Relay | 3 | Relay 3
XP-8v | Internal Relay | 4 | Relay 4
XP-8v | Internal Relay | 5 | Relay 5
XP-8v | Internal Relay | 6 | Relay 6
XP-8v | Internal Relay | 7 | Relay 7
XP-8v | Internal Relay | 8 | Relay 8
XP8v | Internal Sense | 1 | Sense 1
XP8v | Internal Sense | 2 | Sense 2
XP8v | Internal Sense | 3 | Sense 3
XP8v | Internal Sense | 4 | Sense 4
XP8v | Internal Sense | 5 | Sense 5
XP8v | Internal Sense | 6 | Sense 6
XP8v | Internal Sense | 7 | Sense 7
XP8v | Internal Sense | 8 | Sense 8
XP-8v | Internal RS232 | 1 | RS232 1
XP-8v | Internal RS232 | 2 | RS232 2
XP-8v | Internal RS232 | 3 | RS232 3
XP-8v | Internal RS232 | 4 | RS232 4
XP-8v | Internal RS232 | 5 | RS232 5
XP-8v | Internal RS232 | 6 | RS232 6
XP-8v | Internal RS232 | 7 | RS232 7
XP-8v | Internal RS232 | 8 | RS232 8
XP-6 | Internal MPIO | 1 | MPIO 1
XP-6 | Internal MPIO | 2 | MPIO 2
XP-6 | Internal MPIO | 3 | MPIO 3
XP-6 | Internal MPIO | 4 | MPIO 4
XP-6 | Internal MPIO | 5 | MPIO 5
XP-6 | Internal MPIO | 6 | MPIO 6
XP-6 | Internal Relay | 1 | Relay 1
XP-6 | Internal Relay | 2 | Relay 2
XP-6 | Internal Relay | 3 | Relay 3
XP-6 | Internal Trigger | 1 | Trigger 1
XP-6 | Internal Trigger | 2 | Trigger 2
XP-6 | Internal Trigger | 3 | Trigger 3
XP-6 | Internal Sense | 1 | Sense 1
XP-6 | Internal Sense | 2 | Sense 2
XP-6 | Internal Sense | 3 | Sense 3
XP-6 | Internal RS232 | 1 | RS232 1
XP-6 | Internal RS232 | 2 | RS232 2
Module Name | ESC-2 | 1 | RS232 1
Module Name | ESC-2 | 2 | RS232 2
Module Name | RCM-4 | 1 | Relay 1
Module Name | RCM-4 | 2 | Relay 2
Module Name | RCM-4 | 3 | Relay 3
Module Name | RCM-4 | 4 | Relay 4
XP-8v | RCM-12 | 1 | HRV Main Fan
XP-8v | RCM-12 | 2 | Master Bath Fan
XP-8v | RCM-12 | 3 | Master Toilet Fan
XP-8v | RCM-12 | 4 | Bed East Fan
XP-8v | RCM-12 | 5 | Bed West Fan
XP-8v | RCM-12 | 6 | Powder Room Fan
XP-8v | RCM-12 | 7 | Utility Bath Fan
XP-8v | RCM-12 | 8 | Basement Bath Fan
XP-8v | RCM-12 | 9 | Guest Bath Fan
XP-8v | RCM-12 | 10 | Gym Fan
XP-8v | RCM-12 | 11 | Spare
XP-8v | RCM-12 | 12 | Spare

## Lighting Loads
Load Index | Load Room | Load Name
64 | Family/Living Room | Fireplace Recessed
39 | Family/Living Room | East Niche
38 | Family/Living Room | East Recessed
81 | Office | West Recessed
80 | Office | East Recessed
82 | Office | Desk
51 | Kitchen | Sink
49 | Kitchen | Recessed
50 | Kitchen | Island
52 | Kitchen | East Recessed
53 | Kitchen | Desk
28 | Master Bedroom | Recessed
20 | Master Bedroom | Cabinet
24 | Master Bedroom | East Bedside
25 | Master Bedroom | West Bedside
14 | Master Bedroom | Hall
26 | Master Bedroom | Patio
18 | Master Bath | Shower
17 | Master Bath | Tub
16 | Master Bath | Toilet
70 | Master Bath | Towel Warmer
104 | Yard | Sports Court Landscape
85 | Yard | Back Path Lights
72 | Yard | Lower Courtyard Tree Lights
71 | Yard | Lower Courtyard Soffit
76 | Yard | Laundry Door Soffit
75 | Yard | South Walkway Soffit
86 | Yard | Soffit Receptacles
84 | Yard | Front Soffit
118 | Yard | Front / Back Tree Lights
115 | Yard | Driveway Accent Lights
112 | Yard | Car Park Accent Lights
111 | Yard | Car Park Tree Lights
66 | Rec Room | Recessed
67 | Rec Room | Bar
57 | Rec Room | Lower Hall
59 | Rec Room | Wine Room
78 | Garage | Recessed
58 | Gym | Recessed
93 | Dining Room | Chandelier
88 | Dining Room | West Recessed
92 | Dining Room | West Niche
55 | Theater | Front Recessed
56 | Theater | Back Recessed
0 | West Bedroom | South Recessed
1 | West Bedroom | North Recessed
2 | West Bedroom | Bed
6 | West Bedroom | Desk
3 | West Bedroom | Ensuite
4 | West Bedroom | Shower
9 | East Bedroom | West Recessed
8 | East Bedroom | East Recessed
7 | East Bedroom | Desk
10 | East Bedroom | Ensuite
11 | East Bedroom | Shower
94 | Hallway | Recessed
40 | Hallway | Bar
46 | Stairs | Recessed
30 | Stairs | Up
54 | Stairs | Down
48 | Laundry Room | Recessed
31 | Entry | Foyer
77 | Entry | Front Hall
74 | Entry | Windows
29 | Upper Hall | Recessed
63 | Hobby Room | Recessed
23 | Deck | Recessed
22 | Deck | Door
60 | Guest Bedroom | Recessed
61 | Guest Bedroom | Ensuite
62 | Guest Bedroom | Shower
42 | Powder Room | Recessed
41 | Powder Room | Sconce
44 | Utility Bath | Mirror
43 | Utility Bath | Shower
89 | Lower Washroom | Ensuite
65 | Lower Washroom | Shower
33 | Master Bedroom | Fireplace
34 | Master Bedroom | Fireplace
68 | Deck | South Heater
69 | Deck | Norht Heater
98 | Master Bath | Fan Toggle (Phantom)
97 | Hobby Room | Fan Toggle (Phantom)
58 | Gym | Fan Toggle (Phantom)
35 | Guest Bath | Fan Toggle (Phantom)
95 | East Bedroom | Fan Toggle (Phantom)
96 | Utility Bath | Fan Toggle (Phantom)
36 | Powder Room | Fan Toggle (Phantom)
91 | West Bedroom | Fan Toggle (Phantom)
32 | Garage | West Door Toggle (Phantom)
21 | Garage | East Door Toggle (Phantom)
73 | Yard | Back Landscape (Trigger On)
102 | Yard | Back Landscape (Trigger Off)
121 | Yard | Back Entertain (Trigger Off)
120 | Yard | Back Entertain (Trigger On)
123 | Yard | Back Security (Trigger Off)
122 | Yard | Back Security (Trigger On)
114 | Yard | Front Entertain (Trigger Off)
113 | Yard | Front Entertain (Trigger On)
119 | Yard | Front Security (Trigger Off)
117 | Yard | Front Security (Trigger On)
47 | Rec Room | Shades Toggle (Phantom)
100 | East Bedroom | Shades Toggle (Phantom)
99 | West Bedroom | Shades Toggle (Phantom)
101 | Dining Room | Door Shades Toggle (Phantom)
106 | Master Bedroom | Shades Toggle (Phantom)
107 | Master Bath | Shades Toggle (Phantom)

## Network Devices
|  |  | RS232 | Cloud
00:15:26:0a:fa:1b | RTIXP8 | 10.0.0.60 | FALSE | FALSE | RTIXP8 | RTI Main Controller
00:15:26:03:ed:c3 | RTIXP3-Theater | 10.0.0.61 | FALSE | FALSE | RTIXP-3-Theater
00:15:26:08:8b:16 | RTIXP6 | 10.0.0.62 | FALSE | FALSE | RTIXP6 | RTI Secondary Controller Rec Room
00:15:82:11:e1:2c | RTIVHD-8X | 10.0.0.70 | FALSE | FALSE | RTIVHD-8X | RTIVHD-8X
00:15:26:04:87:9e | RTIAD-8 | 10.0.0.71 | TRUE | FALSE | RTIAD-8
00:15:26:0d:13:9e | RTIKA11-Entry | 10.0.0.80 | FALSE | FALSE |  | RTIKA11-Entry
00:15:26:0d:15:c9 | RTIKA11-Auxilliary | 10.0.0.81 | FALSE | FALSE
d4:6a:91:0a:b2:a9 | WattBox-Main | 10.0.0.90 | FALSE | FALSE | WattBox-Main | Main Rack WattBox
d4:6a:91:0a:40:82 | WattBox-Camera | 10.0.0.91 | FALSE | FALSE | WattBox-Camera | WattBox Camera Rack
00:17:dd:01:10:d8 | C-BUSCNI | 10.0.0.110 | TRUE | FALSE | C-BUSCNI | C-BUS - Network Closet
00:06:78:c9:0a:c5 | Denon-HT-Receiver | 10.0.0.120 | TRUE | FALSE | theater-av-receiver | Denon-HT-Receiver
00:05:cd:8a:69:41 | Denon-RecRoom-Receiver | 10.0.0.121 | TRUE | FALSE | recroom-av-receiver | Denon Receiver
48:a6:b8:22:86:fa | Sonos1 | 10.0.0.130 | FALSE | FALSE | sonos1 | Sonos1
48:a6:b8:22:86:d8 | Sonos2 | 10.0.0.131 | FALSE | FALSE | Sonos2 | Sonos2
34:15:13:9e:25:9c | Upper Floor Lutron Caseta | 10.0.0.150 | FALSE | FALSE | Lutron-032ed1d3 | Upper Floor Lutron Caseta
e0:92:8f:4f:01:8c | Lower Floor Lutron Caseta | 10.0.0.151 | FALSE | FALSE | Lutron-06801357 | Lower Floor Lutron Caseta
e0:92:8f:6e:5a:4c | ExteriorLutronCaseta | 10.0.0.152 | FALSE | FALSE | lutron-06806083 | Exterior Lutron Caseta
8c:4b:14:6a:b2:f4 | PoolController | 10.0.1.185 | FALSE | TRUE | espressif | Jandy iAqualink Pool Controller
ac:db:da:56:2a:78 | Qmotion-Shades | 10.0.0.170 | FALSE | TRUE | sgw-acdbda562a77 | Qmotion-Shades